## Sheet1
2. Doddaballabpura Industrial Area - 3rd Phase |  |  | Revised : 31st July 2012
A. Industrial Land
1. Location
A. | Address |  | Doddaballabpura Taluk, Bangalore Rural District
B. | Owner (s) |  | Karnataka Industrial Area Development Board (KIADB)
C. | Acreage |  | 1526 Acres
D. | MAP |  | Map is enclosed
E. | Distance for Bangalore City |  | 36 km from Bangalore / 2 km from Doddaballapura
F. | Distance for Air Port (Devenahali) |  | 25 km for Air Port
G. | Distance for Chennai Port |  | 365 km for Chennai Port
H | Present Status |  | KIADB Act 28(4) is over & Compensation payment to farmer is in progress
2. Zoning
A. | Current Zoning |  | General Engineering Industries
B. | Timing company can start construction
(Regulation clearance will be needed before construction)
C. | Neighboring Zoning of
|  | North Side | 2nd Phase industy
|  | South Side | Doddaballapura industrial area
|  | East Side | NH
|  | West Side | Agricultural Land
D. | Flexibility of Expansion |  | yes
3. Land Price
A. | Land Price |  | Land cost not derived (approximate - Rs. 90 lakhs)
4. Topography
A. | Topography (with boundary line) |  | Flat land
B. | Sea Level (Highest, Lowest) |  | Elevation - 890m
C. | Quality of soil |  | Hard soil
D. | Water level (Underground) |  | No water
5. Utilities and cost |  |  | Image and example
A. | Name of Electric Power Company |  | BESCOM
B. | Available Electricity |  | Yes
C. | Voltage |  | 11 KV
D. | Phase |  | 3 Phase
E. | Frequency |  | 50 Hz
F. | Electric cost |  | Rs.5 / Unit (up to 100,000 units), Rs. 5.2 - 5.5 / Unit (above 100,000 units) & Rs. 160-170 / kva + taxes
G. | Electric Availability for future expansion |  | Ok
H. | Name of Gas Company |  | No gas pipe line
I. | Gas cost |  | Not derived
J. | Available Water |  | Bore well water : River water :
K. | Water Supply Facility (installed timing) |  | 19XX
L. | Water cost |  | Bore well water : Rs. XX / kl River water : Rs. XX / kl
M. | Name of Telephon Company |  | BSNL, TATA, Airtel
N. | Industrial waste cost |  | Effluent water : Rs. XX / kl Incineration : Rs. XX / kg
O. | Sewage Cost |  | Rs. XX / liter
H. | Name of Gas Company |  | No gas pipe line
I. | Gas cost |  | Not derived
J. | Available Water |  | Bore well water : River water :
K. | Water Supply Facility (installed timing) |  | No arrangement is made by KIADB and industries have to use borewell.
L. | Water cost |  | Bore well water : Rs. XX / kl River water : Rs. XX / kl
M. | Name of Telephon Company |  | BSNL, TATA, Airtel
N. | Industrial waste cost |  | Effluent water : Rs. XX / kl Incineration : Rs. XX / kg
O. | Sewage Cost |  | Rs. XX / liter
6. Access |  |  | Image and example
A. | Distance from Interstate Highway or major road |  | 1-2 km from NH 207
B. | Road development plan near site |  | Yes
C. | Distance to major rail |  | 1-2 km to Doddaballapura station, junction
D. | Availability of terminal of rail near site |  | Yes
7. Regulation |  |  | Image and example
A. | Air pollution |  | Obtain Consent for Establishment (CFE) before construction & obtain Consent for Operation (CFO) before Production from State Pollution Control Board www.kspcb.gov.in
B. | Water pollution
C. | Industrial waste
E. | Noise
F. | Green Area |  | Definition, 55 % to be left to open sky, root, park
G. | Set Back |  | Front - 10 mtrs, Rear & others - 8 mtrs
H. | Building Area Ratio, Floor Area Ration |  | Ground Coverage - 45 %, FAR - 1.00
I. | Environmental Control |  | As per normal prevailed
8. Labour |  |  | Image and example
A. | Labour Availability |  | Many technical institution are near by.
B. | Attractive town for workers |  | Doddaballapura (Taluk), BangaloreRural (District Head)
9. Local Infrastructure |  |  | Image and example
A. | Available Rent-a-houses |  | Yes (approximately Rs. 6000 / month for 2 rooms)
B. | Schools, Hospitals, City-hall, police station, |  | Yes
fire station, welfare/cultural and recreational facilities
B. Infrastructure Information
Image and example
A. | Power |  | Present Situation of Power supply, Development Plan, Specific Power Project (present situation and its road map )
B. | Road Development |  | Specific Road Development/Improvement project (present situation and its road map )
C. | Water Supply and Sewage |  | Specific Development/Improvement project (present situation and its road map )
D. | Bangalore Urban Development Plan |  | Metro, Monorail, Satellite city project, Airport High Speed Rail Link etc.
E. | Port Development